## Lotto2_T640_1
|  | Convenzione | 0
|  | 20% | 0
|  | Totale | 0
POWEREDGE T640 Consulta la Guida alla Convenzione ---> | & | Quantità Server |  | Version 3.3
Base | i
PowerEdge T640 Server |  |  |  |  | 2088 |  | L2N01
Chassis Configuration | i
Chassis with up to 16 x 2.5" SAS/ SATA Hard Drives, Tower Configuration |  |  |  |  | 0 | 0
Trusted Platform Module (TPM)
Trusted Platform Module 2.0
Processor | i
Intel Xeon Silver 4214 2.2G, 12C/24T, 9.6GT/s, 16.5M Cache, Turbo, HT (85W)
Additional Processor
No Additional Processor |  |  | 0 |  | 0
Memory Capacity
32GB |  |  | 0 |  | 0
Operating System
No Operating System |  |  |  |  | 0
|  |  | 0 |  | 0
Raid Controller | i
PERC H730P+ Adapter RAID Controller, 2GB |  |  |  | Configurazione RAID e/o NOTE | 0 | 0
Specificare la configurazione RAID per l'installazione del Sistema Operativo, se richiesto. e/o inserire eventuali note.
Hard Drivers Bays disponibili n° 16 |  | Usati | Disponibili
|  | 2 | 14
2.4TB 10K RPM SAS 12Gbps 512e 2.5in Hot-plug |  | TS3L2-HDD2TB |  |  | 0 | 0 | L2N05
1.2TB 10K RPM SAS 12Gbps 2.5in Hot-plug |  | TS3L2-HDD1TB |  |  | 0 | 0 | L2N06
300GB 15K RPM SAS 12Gbps 2.5in Hot-plug |  | TS3L2-HDD300GB |  |  | 0 | 0 | L2N07
960GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug |  | TS3L2-RI800GB | 2 |  | 0 | 0 | L2N08
480GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug |  | TS3L2-RI400GB |  |  | 0 | 0 | L2N09
Power Supply
Dual, Hot-plug, Redundant Power Supply (1+1), 750W
Embedded Systems Management | i
iDRAC9,Enterprise
Network Cards
On-Board Dual-Port 10GbE LOM
PCI Slot 1 Processor 1 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0
PCI Slot 2 Processor 1 x4 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0
PCI Slot 3 Processor 1 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0
PCI Slot 4 Processor 2 x8 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 5 Processor 2 x4 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 6 Processor 2 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 7 Processor 2 x8 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 8 Processor 2 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
SFP+ Transceivers
Transceiver, SFP+, 10GbE, SR, 850nm Wavelength, 300m |  |  |  |  | 0 | 0 | 0
SFP+ Direct Attach Cables (Twinax)
Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  |  |  |  | 0 | 0 | 0
Cavi RJ45
Cavo “patch” di 3 mt RJ45 certificato per gigabit ethernet |  | TS3L2-RJ453M | 3 |  | 0 | 6 | L2N26
Bezel
No Bezel |  |  |  |  | 0 | 0
Warranty | i
Manutenzione in garanzia (36 mesi) |  |  |  |  | 0 | 0
Hard Disk Retention | i
[5 empty] | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
UPS | i
[5 empty] | 0 | 0
Kit Graphical User Interface | i
[5 empty] | 0 | 0
SFP+

## Lotto2_T640_2
|  | Convenzione | 0
|  | 20% | 0
|  | Totale | 0
POWEREDGE T640 Consulta la Guida alla Convenzione ---> | & | Quantità Server |  | Version 3.3
Base | i
PowerEdge T640 Server |  |  |  |  | 2088 |  | L2N01
Chassis Configuration | i
Chassis with up to 16 x 2.5" SAS/ SATA Hard Drives, Tower Configuration |  |  |  |  | 0 | 0
Trusted Platform Module (TPM)
Trusted Platform Module 2.0
Processor | i
Intel Xeon Silver 4214 2.2G, 12C/24T, 9.6GT/s, 16.5M Cache, Turbo, HT (85W)
Additional Processor
No Additional Processor |  |  | 0 |  | 0
Memory Capacity
32GB |  |  | 0 |  | 0
Operating System
No Operating System |  |  |  |  | 0
|  |  | 0 |  | 0
Raid Controller | i
PERC H730P+ Adapter RAID Controller, 2GB |  |  |  | Configurazione RAID e/o NOTE | 0 | 0
Specificare la configurazione RAID per l'installazione del Sistema Operativo, se richiesto. e/o inserire eventuali note.
Hard Drivers Bays disponibili n° 16 |  | Usati | Disponibili
|  | 2 | 14
2.4TB 10K RPM SAS 12Gbps 512e 2.5in Hot-plug |  | TS3L2-HDD2TB |  |  | 0 | 0 | L2N05
1.2TB 10K RPM SAS 12Gbps 2.5in Hot-plug |  | TS3L2-HDD1TB |  |  | 0 | 0 | L2N06
300GB 15K RPM SAS 12Gbps 2.5in Hot-plug |  | TS3L2-HDD300GB |  |  | 0 | 0 | L2N07
960GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug |  | TS3L2-RI800GB | 2 |  | 0 | 0 | L2N08
480GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug |  | TS3L2-RI400GB |  |  | 0 | 0 | L2N09
Power Supply
Dual, Hot-plug, Redundant Power Supply (1+1), 750W
Embedded Systems Management | i
iDRAC9,Enterprise
Network Cards
On-Board Dual-Port 10GbE LOM
PCI Slot 1 Processor 1 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0
PCI Slot 2 Processor 1 x4 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0
PCI Slot 3 Processor 1 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0
PCI Slot 4 Processor 2 x8 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 5 Processor 2 x4 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 6 Processor 2 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 7 Processor 2 x8 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 8 Processor 2 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
SFP+ Transceivers
Transceiver, SFP+, 10GbE, SR, 850nm Wavelength, 300m |  |  |  |  | 0 | 0 | 0
SFP+ Direct Attach Cables (Twinax)
Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  |  |  |  | 0 | 0 | 0
Cavi RJ45
Cavo “patch” di 3 mt RJ45 certificato per gigabit ethernet |  | TS3L2-RJ453M | 3 |  | 0 | 6 | L2N26
Bezel
No Bezel |  |  |  |  | 0 | 0
Warranty | i
Manutenzione in garanzia (36 mesi) |  |  |  |  | 0 | 0
Hard Disk Retention | i
[5 empty] | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
UPS | i
[5 empty] | 0 | 0
Kit Graphical User Interface | i
[5 empty] | 0 | 0
SFP+
SFP+

## Lotto2_T640_3
|  | Convenzione | 0
|  | 20% | 0
|  | Totale | 0
POWEREDGE T640 Consulta la Guida alla Convenzione ---> | & | Quantità Server |  | Version 3.3
Base | i
PowerEdge T640 Server |  |  |  |  | 2088 |  | L2N01
Chassis Configuration | i
Chassis with up to 16 x 2.5" SAS/ SATA Hard Drives, Tower Configuration |  |  |  |  | 0 | 0
Trusted Platform Module (TPM)
Trusted Platform Module 2.0
Processor | i
Intel Xeon Silver 4214 2.2G, 12C/24T, 9.6GT/s, 16.5M Cache, Turbo, HT (85W)
Additional Processor
No Additional Processor |  |  | 0 |  | 0
Memory Capacity
32GB |  |  | 0 |  | 0
Operating System
No Operating System |  |  |  |  | 0
|  |  | 0 |  | 0
Raid Controller | i
PERC H730P+ Adapter RAID Controller, 2GB |  |  |  | Configurazione RAID e/o NOTE | 0 | 0
Specificare la configurazione RAID per l'installazione del Sistema Operativo, se richiesto. e/o inserire eventuali note.
Hard Drivers Bays disponibili n° 16 |  | Usati | Disponibili
|  | 2 | 14
2.4TB 10K RPM SAS 12Gbps 512e 2.5in Hot-plug |  | TS3L2-HDD2TB |  |  | 0 | 0 | L2N05
1.2TB 10K RPM SAS 12Gbps 2.5in Hot-plug |  | TS3L2-HDD1TB |  |  | 0 | 0 | L2N06
300GB 15K RPM SAS 12Gbps 2.5in Hot-plug |  | TS3L2-HDD300GB |  |  | 0 | 0 | L2N07
960GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug |  | TS3L2-RI800GB | 2 |  | 0 | 0 | L2N08
480GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug |  | TS3L2-RI400GB |  |  | 0 | 0 | L2N09
Power Supply
Dual, Hot-plug, Redundant Power Supply (1+1), 750W
Embedded Systems Management | i
iDRAC9,Enterprise
Network Cards
On-Board Dual-Port 10GbE LOM
PCI Slot 1 Processor 1 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0
PCI Slot 2 Processor 1 x4 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0
PCI Slot 3 Processor 1 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0
PCI Slot 4 Processor 2 x8 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 5 Processor 2 x4 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 6 Processor 2 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 7 Processor 2 x8 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
PCI Slot 8 Processor 2 x16 PCIe Gen3 for FH/FL
[5 empty] | 0 | 0 | 0
SFP+ Transceivers
Transceiver, SFP+, 10GbE, SR, 850nm Wavelength, 300m |  |  |  |  | 0 | 0 | 0
SFP+ Direct Attach Cables (Twinax)
Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  |  |  |  | 0 | 0 | 0
Cavi RJ45
Cavo “patch” di 3 mt RJ45 certificato per gigabit ethernet |  | TS3L2-RJ453M | 3 |  | 0 | 6 | L2N26
Bezel
No Bezel |  |  |  |  | 0 | 0
Warranty | i
Manutenzione in garanzia (36 mesi) |  |  |  |  | 0 | 0
Hard Disk Retention | i
[5 empty] | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
UPS | i
[5 empty] | 0 | 0
Kit Graphical User Interface | i
[5 empty] | 0 | 0
SFP+
SFP+

## ConfigurationTS3L2 (hidden)
| Module Name | Option ID | Option Name | Option List Price | SKUs | Qty | SKU Customer Kit | Attributo | Valore inserito |  | N° | Codice Convenzione
PowerEdge T640 Server |  |  | PowerEdge T640 Server |  |  |  | L1N02-ServerT640 | Server Tower bi-processore | 2088 |  | L2N01 | TS3L2-SRV
TS3L2_Chassis
Chassis with up to 16 x 2.5" SAS/ SATA Hard Drives, Tower Configuration
Chassis with up to 16 x 2.5" SAS/ SATA Hard Drives, Rack Configuration |  |  | Kit composto da: Tower to Rack Conversion Kit; Rack Standard Bezel; 3U Cable Management Arm; Ready Rails 3U Sliding Rails |  |  | 1 | TS3-OpzA20T640K | TS3-OpzA20RKit |  | 270 | L2N22 | TS3L2-RACKKIT
TS3L2_CPU
No Additional Processor
Intel Xeon Silver 4214 2.2G, 12C/24T, 9.6GT/s, 16.5M Cache, Turbo, HT (85W) |  |  | Intel® Xeon® Silver 4214 Processor 2.20 GHz, 12C/24T |  |  | 1 | L2N02-OpzCPU | Kit n. 1 Processore aggiuntivo | 590 |  | L2N02 | TS3L2-CPU
TS3L2_RAM (1CPU)
32GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 0 | L2N03-OpzRAM16GB
48GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 1 | L2N03-OpzRAM16GB | OpzRAM16GB | 99 |  | L2N03 | TS3L2-RAM16
64GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 2 | L2N03-OpzRAM16GB | OpzRAM16GB | 198 |  | L2N03 | TS3L2-RAM16
96GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 4 | L2N03-OpzRAM16GB | OpzRAM16GB | 396 |  | L2N03 | TS3L2-RAM16
128GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 6 | L2N03-OpzRAM16GB | OpzRAM16GB | 594 |  | L2N03 | TS3L2-RAM16
160GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 8 | L2N03-OpzRAM16GB | OpzRAM16GB | 792 |  | L2N03 | TS3L2-RAM16
192GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 10 | L2N03-OpzRAM16GB | OpzRAM16GB | 990 |  | L2N03 | TS3L2-RAM16
TS3L2_RAM (2CPU)
32GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 0 | L2N03-OpzRAM16GB
48GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 1 | L2N03-OpzRAM16GB | OpzRAM16GB | 99 |  | L2N03 | TS3L2-RAM16
64GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 2 | L2N03-OpzRAM16GB | OpzRAM16GB | 198 |  | L2N03 | TS3L2-RAM16
96GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 4 | L2N03-OpzRAM16GB | OpzRAM16GB | 396 |  | L2N03 | TS3L2-RAM16
128GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 6 | L2N03-OpzRAM16GB | OpzRAM16GB | 594 |  | L2N03 | TS3L2-RAM16
160GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 8 | L2N03-OpzRAM16GB | OpzRAM16GB | 792 |  | L2N03 | TS3L2-RAM16
192GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 10 | L2N03-OpzRAM16GB | OpzRAM16GB | 990 |  | L2N03 | TS3L2-RAM16
224GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 12 | L2N03-OpzRAM16GB | OpzRAM16GB | 1188 |  | L2N03 | TS3L2-RAM16
256GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 14 | L2N03-OpzRAM16GB | OpzRAM16GB | 1386 |  | L2N03 | TS3L2-RAM16
320GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 18 | L2N03-OpzRAM16GB | OpzRAM16GB | 1782 |  | L2N03 | TS3L2-RAM16
352GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 20 | L2N03-OpzRAM16GB | OpzRAM16GB | 1980 |  | L2N03 | TS3L2-RAM16
384GB | Memory Capacity |  | 16GB 2Rx8 DDR4 RDIMM 3200MHz |  | 370-AEQF | 22 | L2N03-OpzRAM16GB | OpzRAM16GB | 2178 |  | L2N03 | TS3L2-RAM16
TS3L2_OS
No Operating System | Operating System | [11 empty] | 0
[TS3L2-WINSRVSTD] Windows Server® 2019 Standard | Operating System |  | Windows Server 2019 Standard, ROK, 16CORE |  |  | 1 | L2N12-OpzWinServSTD | OpzWinServSTD | 732 |  | L2N12 | TS3L2-WINSRVSTD | 4 | L2N13-OpzWinServSTD2core | OpzWinServSTD2core | 376 | L2N13 | TS3L2-WINSRV2C
[TS3L2-LINUX] Ubuntu 18.04 LTS 64 Bit | Operating System |  | Ubuntu 18.04 LTS 64 Bit |  |  | 1 | L2N16-OpzOpenSource | OpzOpenSource | 49 |  | L2N16 | TS3L2-LINUX | 0
TS3L2_HDD
2.4TB 10K RPM SAS 12Gbps 512e 2.5in Hot-plug | Hard Drives |  | 2.4TB 10K RPM SAS 12Gbps 512e 2.5in Hot-plug |  |  | 1 | L2N05-OpzHDD2TB | OpzHDD2TB | 226 |  | L2N05 | TS3L2-HDD2TB
1.2TB 10K RPM SAS 12Gbps 2.5in Hot-plug | Hard Drives |  | 1.2TB 10K RPM SAS 12Gbps 2.5in Hot-plug |  |  | 1 | L2N06-OpzHDD1TB | OpzHDD1TB | 141 |  | L2N06 | TS3L2-HDD1TB
300GB 15K RPM SAS 12Gbps 2.5in Hot-plug | Hard Drives |  | 300GB 15K RPM SAS 12Gbps 2.5in Hot-plug |  |  | 1 | L2N07-OpzHDD300GB | OpzHDD300GB | 92 |  | L2N07 | TS3L2-HDD300GB
960GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug | Hard Drives |  | 960GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug |  |  | 1 | L2N08-OpzSSD-RI800GB | OpzSSD-RI800GB | 727 |  | L2N08 | TS3L2-RI800GB
480GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug | Hard Drives |  | 480GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug |  |  | 1 | L2N09- OpzSSD-RI400GB | OpzSSD-RI400GB | 394 |  | L2N09 | TS3L2-RI400GB
TS3L2_RAID
PERC H730P+ Adapter RAID Controller, 2GB | Controller Raid
PERC H740P Adapter RAID Controller, 8GB | Controller Raid |  | Dell PERC H740P RAID Controller in sostituzione del Controller in configurazione BASE |  |  | 1 | TS3-OpzA20H740P | 0 |  | 672 | L2N30 | TS3L2-H740P
TS3L2_PSU
Single, Hot-plug Power Supply 1+0, 495W | Power Supply | GBF3YIX | Single, Hot-plug Power Supply 1+0, 495W |  | 450-AHVN
-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-20%-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-
[TS3L1-PSU] Dual, Hot-plug, Redundant Power Supply 1+1, 495W | Power Supply | GZ8351O | Single, Hot-plug Power Supply (1+0), 495W,CusKit |  | 450-AHVO | 1 | 0 | OpzPowerSupply |  | 82 | L1N18 | TS3L1-PSU
TS3L2_AddCPU
Aggiungere Secondo Processore
TS3L2_PCI1
[TS3L2-LAN1] Broadcom 5720 Dual Port 1GbE BASE-T Adapter | Additional Network Cards | GI7RBKF | Broadcom 5720 DP 1Gb NIC,Full Height |  | 540-BBCX | 1 | L2N04-OpzGigabit | OpzGigabit | 26 |  | L2N04 | TS3L2-LAN1
-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-20%-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-
[TS3L2-BOSS240] BOSS controller card, full height, with 2 240G M.2 Drives | BOSS Card |  | BOSS controller card, full height, with 2 240G M.2 Drives |  |  | 1 |  | OpzBOSS240 |  | 429 | L2N20 | TS3L2-BOSS240
[TS3L2-BOSS480] BOSS controller card, full height, with 2 480G M.2 Drives | BOSS Card |  | BOSS controller card, full height, with 2 480G M.2 Drives |  |  | 1 |  | OpzBOSS480 |  | 748 | L2N21 | TS3L2-BOSS480
[TS3L2-H840] PERC H840 RAID Adapter for External MD14XX Only, 8GB NV Cache | PERC |  | PERC H840 RAID Adapter for External MD14XX Only, 8GB NV Cache, Full Height |  |  | 1 | TS3-OpzA20H840 | OpzH840 |  | 479 | L2N27 | TS3L2-H840
[TS3L2-CNA10] Scheda 41112 DP 10Gb SFP+, 2 x Transceiver SFP+, 10GbE | Additional Network Cards |  | Scheda 41112 DP 10Gb SFP+, 2 x Transceiver SFP+, 10GbE |  |  | 1 | TS3-OpzA20CNA | OpzCNA10Gb |  | 383 | L2N23 | TS3L2-CNA10GB
[TS3L2-CNA10M3] Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter | Additional Network Cards | Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter | Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  |  | 1 | TS3-OpzA20CNA3M | OpzCNA10Gb |  | 411 | L2N29 | TS3L2-CNA10M3
TS3L2_PCI2
[TS3L2-LAN1] Broadcom 5720 Dual Port 1GbE BASE-T Adapter | Additional Network Cards | GI7RBKF | Broadcom 5720 DP 1Gb NIC,Full Height |  | 540-BBCX | 1 | L2N04-OpzGigabit | OpzGigabit | 26 |  | L2N04 | TS3L2-LAN1
TS3L2_PCI3
[TS3L2-LAN1] Broadcom 5720 Dual Port 1GbE BASE-T Adapter | Additional Network Cards | GI7RBKF | Broadcom 5720 DP 1Gb NIC,Full Height |  | 540-BBCX | 1 | L2N04-OpzGigabit | OpzGigabit | 26 |  | L2N04 | TS3L2-LAN1
TS3L2_PCI4
[TS3L2-LAN1] Broadcom 5720 Dual Port 1GbE BASE-T Adapter | Additional Network Cards | GI7RBKF | Broadcom 5720 DP 1Gb NIC,Full Height |  | 540-BBCX | 1 | L2N04-OpzGigabit | OpzGigabit | 26 |  | L2N04 | TS3L2-LAN1
-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-20%-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-
[TS3L2-BOSS240] BOSS controller card, full height, with 2 240G M.2 Drives | BOSS Card |  | BOSS controller card, full height, with 2 240G M.2 Drives |  |  | 1 |  | OpzBOSS240 |  | 429 | L2N20 | TS3L2-BOSS240
[TS3L2-BOSS480] BOSS controller card, full height, with 2 480G M.2 Drives | BOSS Card |  | BOSS controller card, full height, with 2 480G M.2 Drives |  |  | 1 |  | OpzBOSS480 |  | 748 | L2N21 | TS3L2-BOSS480
[TS3L2-H840] PERC H840 RAID Adapter for External MD14XX Only, 8GB NV Cache | PERC |  | PERC H840 RAID Adapter for External MD14XX Only, 8GB NV Cache, Full Height |  |  | 1 | TS3-OpzA20H840 | OpzH840 |  | 479 | L2N27 | TS3L2-H840
[TS3L2-CNA10] Scheda 41112 DP 10Gb SFP+, 2 x Transceiver SFP+, 10GbE | Additional Network Cards |  | Scheda 41112 DP 10Gb SFP+, 2 x Transceiver SFP+, 10GbE |  |  | 1 | TS3-OpzA20CNA | OpzCNA10Gb |  | 383 | L2N23 | TS3L2-CNA10GB
[TS3L2-CNA10M3] Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter | Additional Network Cards | Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter | Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  |  | 1 | TS3-OpzA20CNA3M | OpzCNA10Gb |  | 411 | L2N29 | TS3L2-CNA10M3
TS3L2_PCI5
[TS3L2-LAN1] Broadcom 5720 Dual Port 1GbE BASE-T Adapter | Additional Network Cards | GI7RBKF | Broadcom 5720 DP 1Gb NIC,Full Height |  | 540-BBCX | 1 | L2N04-OpzGigabit | OpzGigabit | 26 |  | L2N04 | TS3L2-LAN1
TS3L2_PCI6
[TS3L2-LAN1] Broadcom 5720 Dual Port 1GbE BASE-T Adapter | Additional Network Cards | GI7RBKF | Broadcom 5720 DP 1Gb NIC,Full Height |  | 540-BBCX | 1 | L2N04-OpzGigabit | OpzGigabit | 26 |  | L2N04 | TS3L2-LAN1
-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-20%-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-
[TS3L2-BOSS240] BOSS controller card, full height, with 2 240G M.2 Drives | BOSS Card |  | BOSS controller card, full height, with 2 240G M.2 Drives |  |  | 1 |  | OpzBOSS240 |  | 429 | L2N20 | TS3L2-BOSS240
[TS3L2-BOSS480] BOSS controller card, full height, with 2 480G M.2 Drives | BOSS Card |  | BOSS controller card, full height, with 2 480G M.2 Drives |  |  | 1 |  | OpzBOSS480 |  | 748 | L2N21 | TS3L2-BOSS480
[TS3L2-H840] PERC H840 RAID Adapter for External MD14XX Only, 8GB NV Cache | PERC |  | PERC H840 RAID Adapter for External MD14XX Only, 8GB NV Cache, Full Height |  |  | 1 | TS3-OpzA20H840 | OpzH840 |  | 479 | L2N27 | TS3L2-H840
[TS3L2-CNA10] Scheda 41112 DP 10Gb SFP+, 2 x Transceiver SFP+, 10GbE | Additional Network Cards |  | Scheda 41112 DP 10Gb SFP+, 2 x Transceiver SFP+, 10GbE |  |  | 1 | TS3-OpzA20CNA | OpzCNA10Gb |  | 383 | L2N23 | TS3L2-CNA10GB
[TS3L2-CNA10M3] Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter | Additional Network Cards | Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter | Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  |  | 1 | TS3-OpzA20CNA3M | OpzCNA10Gb |  | 411 | L2N29 | TS3L2-CNA10M3
TS3L2_PCI7
[TS3L2-LAN1] Broadcom 5720 Dual Port 1GbE BASE-T Adapter | Additional Network Cards | GI7RBKF | Broadcom 5720 DP 1Gb NIC,Full Height |  | 540-BBCX | 1 | L2N04-OpzGigabit | OpzGigabit | 26 |  | L2N04 | TS3L2-LAN1
-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-20%-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-
[TS3L2-BOSS240] BOSS controller card, full height, with 2 240G M.2 Drives | BOSS Card |  | BOSS controller card, full height, with 2 240G M.2 Drives |  |  | 1 |  | OpzBOSS240 | 429 |  | L2N20 | TS3L2-BOSS240
[TS3L2-BOSS480] BOSS controller card, full height, with 2 480G M.2 Drives | BOSS Card |  | BOSS controller card, full height, with 2 480G M.2 Drives |  |  | 1 |  | OpzBOSS480 | 748 |  | L2N21 | TS3L2-BOSS480
[TS3L2-H840] PERC H840 RAID Adapter for External MD14XX Only, 8GB NV Cache | PERC |  | PERC H840 RAID Adapter for External MD14XX Only, 8GB NV Cache, Full Height |  |  | 1 | TS3-OpzA20H840 | OpzH840 |  | 479 | L2N27 | TS3L2-H840
[TS3L2-CNA10] Scheda 41112 DP 10Gb SFP+, 2 x Transceiver SFP+, 10GbE | Additional Network Cards |  | Scheda 41112 DP 10Gb SFP+, 2 x Transceiver SFP+, 10GbE |  |  | 1 | TS3-OpzA20CNA | OpzCNA10Gb |  | 383 | L2N23 | TS3L2-CNA10GB
[TS3L2-CNA10M3] Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter | Additional Network Cards | Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter | Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  |  | 1 | TS3-OpzA20CNA3M | OpzCNA10Gb |  | 411 | L2N29 | TS3L2-CNA10M3
TS3L2_PCI8
[TS3L2-LAN1] Broadcom 5720 Dual Port 1GbE BASE-T Adapter | Additional Network Cards | GI7RBKF | Broadcom 5720 DP 1Gb NIC,Full Height |  | 540-BBCX | 1 | L2N04-OpzGigabit | OpzGigabit | 26 |  | L2N04 | TS3L2-LAN1
Cavo “patch” di 3 mt RJ45 certificato per gigabit ethernet |  |  | Cavo “patch” di 3 mt RJ45 certificato per gigabit ethernet |  |  |  | TS3-OpzA20RJ45 | TS3-OpzA20RJ45 |  | 3 | L2N26 | TS3L2-RJ453M
Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  |  | Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  |  |  | 0 | OpzDAC3M |  | 9999 | L2N25 | TS3L2-DAC3M
Transceiver, SFP+, 10GbE, SR, 850nm Wavelength, 300m |  |  | Transceiver, SFP+, 10GbE, SR, 850nm Wavelength, 300m |  |  |  | 0 | Opz10GBIC |  | 90 | L2N24 | TS3L2-10GBIC
TS3L2_BEZEL
No Bezel | Bezel | GKGZ6OF | No Bezel |  | 350-BBBW
-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-20%-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-
[TS3L2-BEZEL] Tower Security Bezel | Bezel | G87WRUY | Tower Security Bezel |  | 325-BCOO | 1 | TS3-OpzA20BT640 | TS3-OpzA20BT640 |  | 99.99 | L2N19 | TS3L2-BEZEL
TS3L1_DVD
No Internal Optical Drive | Internal Optical Drive | G5M9GE3 | No Internal Optical Drive |  | 429-ABDL
-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-20%-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-=-
[TS3L1-DVD] DVD +/-RW, SATA, Internal | Internal Optical Drive | GR53HYI | DVD +/-RW, SATA, Internal |  | 429-ABCJ | 1 | 0 | OpzDVD |  | 99.99 | L1N28 | TS3L1-DVD
TS3L2_WARRANTY
Manutenzione in garanzia (36 mesi) | Dell Services: Extended Service | G5IMJFP | RESTRICTED:ProSupport One Data Center and Next Business Day Onsite Service Volume Low, 39 Month(s) |  | 865-BBKY, 865-BBKZ
[TS3L2-5Y] Manutenzione in garanzia (60 mesi) | Dell Services: Extended Service | G5IMJFP | Estensione della manutenzione in garanzia per ulteriori 24 mesi |  | 865-BBKY, 865-BBKZ | 1 | L2N18-OpzEstensione24 | OpzEstensione24 | 79 |  | L2N18 | TS3L2-5Y
TS3L2_KYHDD
Keep Your Hard Drive
Hard Disk Retention | Keep Your Hard Drive | GPZX1KQ | Hard Disk Retention 36 mesi |  | 711-BBBR | 1 | L2N17-OpzHDDRetention | OpzHDDRetention | 207 |  | L2N17 | TS3L2-HDRTNTN
Hard Disk Retention (60 mesi) | Keep Your Hard Drive | GPZX1KQ | Hard Disk Retention 60 mesi |  | 711-BBBR | 1 | L2N28-OpzHDDRetention60 | OpzHDDRetention60 | 345 |  | L2N28 | TS3L2-HDRTNTN60
TS3L2_UPS
[TS3L2-UPS] UPS PowerMe RPMM/9K - 3000VA Tower |  |  | UPS PowerMe RPMM/9K - 3000VA Tower |  |  | 1 | L2N10-OpzUps | OpzUps (3000VA) | 300 |  | L2N10 | TS3L2-UPS
TS3L2_GUI
[TS3L2-GUI] Monitor DELL E1920H + Keyboard + Mouse |  |  | Monitor 19" E1920H, Mouse MS116, Tastiera KB216 |  |  | 1 | L2N11-OpzGUI | OpzGUI per tower | 104 |  | L2N11 | TS3L2-GUI
No Bezel
Bezel già compreso nel Kit TS3L2-RACKKIT
1-pack of Windows Server 2019/2016 Device CALs (STD or DC) |  |  | Windows Server 2019 Device CAL (STD or DC) |  |  | 1 | L2N14-OpzDeviceCal | OpzDeviceCal | 23 |  | L2N14 | TS3L2-WINDEVCAL
1-pack of Windows Server 2019/2016 User CALs (STD or DC) |  |  | Windows Server 2019 User CAL (STD or DC) |  |  | 1 | L2N15-OpzUserCal | OpzUserCal | 29 |  | L2N15 | TS3L2-WINUSRCAL

## Tabella_prezzi (hidden)
N° |  | Attributo | Valore inserito | N° | Codice Convenzione | Qty: | Description: | Sku Number: | Brand | Sku Number:
L1N01 | 1 | Server Tower mono-processore | 1399 | L1N01 | TS3L1-SRV | 1 | PowerEdge T340 Server |  | DELL | -
L1N02 | 2 | OpzRAM16GB | 98 | L1N02 | TS3L1-RAM16 | 1 | 16GB 2Rx8 DDR4 UDIMM 2666MHz |  | DELL | AA335286
L1N03 | 3 | OpzGigabit | 25 | L1N03 | TS3L1-LAN1 | 1 | Broadcom 5720 DP 1Gb NIC,Full Height |  | DELL | 540-BBGY
L1N04 | 4 | OpzHDD8TB | 285 | L1N04 | TS3L1-HDD8TB | 1 | 8TB 7.2K RPM SATA 6Gbps 3.5in Hot-plug |  | DELL | 400-AHID
L1N05 | 5 | OpzHDD4TB | 194 | L1N05 | TS3L1-HDD4TB | 1 | 4TB 7.2K RPM SATA 6Gbps 3.5in Hot-plug |  | DELL | 400-AUWY
L1N06 | 6 | OpzHDD2TB | 148 | L1N06 | TS3L1-HDD2TB | 1 | 2TB 7.2K RPM SATA 6Gbps 3.5in Hot-plug |  | DELL | 400-AUWX
L1N07 | 7 | OpzHDD1TB | 80 | L1N07 | TS3L1-HDD1TB | 1 | 1TB 7.2K RPM SATA 6Gbps 3.5in Hot-plug |  | DELL | 400-AURS
L1N08 | 8 | OpzSSD-RI800GB | 216 | L1N08 | TS3L1-RI960GB | 1 | 960GB SSD SATA Read Intensive 6Gbps 2.5in Drive in 3.5in Hybrid Carrier, 1 DWPD |  | DELL | 400-BDPC
L1N09 | 9 | OpzSSD-RI400GB | 160 | L1N09 | TS3L1-RI480GB | 1 | 480GB SSD SATA Read Intensive 6Gbps 2.5in Drive in 3.5in Hybrid Carrier, 1 DWPD |  | DELL | 400-BDQT
L1N10 | 10 | OpzUps (3000VA) | 302 | L1N10 | TS3L1-UPS | 1 | Powerme Online UPS RPMM/9 3K, Tower, SNMP card |  | PowerME | TPMM/ 3K
L1N11 | 11 | OpzGUI per tower | 69 | L1N11 | TS3L1-GUI | 1 | Monitor 19" E1920H, Mouse MS116, Tastiera KB216 |  | DELL | 580-ADHM
[6 empty] | 1 | Mouse ottico Dell MS116 - nero |  |  | 570-AAIS
[6 empty] | 1 | BASE,DIS,MON,E1920H,EMEA |  |  | 210-AURI
[6 empty] | 1 | Italian 220V Power Cord |  |  | 450-ABCK
[6 empty] | 1 | SnP order - EMEA. |  |  | 800-10243
[6 empty] | 1 | 39M Basic with Advanced Exchange Channel |  |  | 709-17931
[6 empty] | 1 | No Warranty Upgrade |  |  | 710-10844
L1N12 | 12 | OpzWinServESS | 256 | L1N12 | TS3L1-WINSRVESS | 1 | Windows Server 2019,Essentials, ROK |  | DELL | 634-BSFZ
L1N13 | 13 |  |  | L1N13
L1N14 | 14 |  |  | L1N14
L1N15 | 15 | OpzOpenSource | 49 | L1N15 | TS3L1-LINUX | 1 | Ubuntu 18.04 LTS 64 Bit
L1N16 | 16 | OpzHDDRetention | 38 | L1N16 | TS3L1-HDRTNTN | 1 | Hard Disk Retention |  | DELL | 785-10921
L1N17 | 17 | OpzEstensione24 | 79 | L1N17 | TS3L1-5Y | 1 | Estensione della manutenzione in garanzia per ulteriori 24 mesi |  | DELL | 742-10105
L1N18 | 18 | OpzPowerSupply | 82 | L1N18 | TS3L1-PSU | 1 | Single, Hot-plug Power Supply (1+0), 495W,CusKit |  | DELL | 450-AEBM
L1N19 | 19 | OpzGigabit 4p | 50 | L1N19 | TS3L1-LAN1QP | 1 | Broadcom 5719 QP 1Gb Network Interface Card,Full Height,CusKit |  | DELL | 540-BBGX
L1N20 | 20 | OpzGigabit I350 2p | 99.99 | L1N20 | TS3L1-I3502P | 1 | Intel Ethernet I350 Dual Port 1GbE BASE-T Adapter, PCIe Full Height |  | DELL | 540-BBGZ
L1N21 | 21 | OpzGigabit I350 4p | 99.99 | L1N21 | TS3L1-I3504P | 1 | Intel Ethernet I350 Quad Port 1GbE BASE-T Adapter, PCIe Full Height |  | DELL | 540-BBDS
L1N22 | 22 | OpzGigabit10Gbps X550 2p T | 99.99 | L1N22 | TS3L1-X550 | 1 | Intel X550 Dual Port 10GbE BASE-T Adapter, PCIe Full Height |  | DELL | 540-BBRK
L1N23 | 23 | OpzGigabit10Gbps X710 2p SFP+ | 99.99 | L1N23 | TS3L1-X710 | 1 | Intel X710 Dual Port 10GbE SFP+ Adapter, PCIe Full Height |  | DELL | 540-BBIV
L1N24 | 24 | OpzFibreChannel Emulex LPE12002 | 99.99 | L1N24 | TS3L1-E12002 | 1 | Emulex LPE 12002 Dual Port 8Gb Fibre Channel HBA, PCIe Full Height |  | DELL | 406-BBGR
L1N25 | 25 | OpzControllerSAS | 99 | L1N25 | TS3L1-CtrlSAS | 1 | SAS 12Gbps HBA External Controller |  | DELL | 405-AADZ
L1N26 | 26 | OpzRJ45 3m | 2 | L1N26 | TS3L1-RJ453M | 1 | cavo “patch” di 3 mt RJ45 certificato per gigabit ethernet
L1N27 | 27 | OpzBezel | 99.99 | L1N27 | TS3L1-BEZEL | 1 | Tower Bezel, PowerEdge, T340 |  | DELL | 470-ACNV
L1N28 | 28 | OpzDVD | 99.99 | L1N28 | TS3L1-DVD | 1 | DVD+/-RW, SATA, Internal |  | DELL | 429-ABIE
L1N29 | 29 | OpzHDMiniSAS2M | 80 | L1N29 | TS3L1-SAS2M | 1 | 12Gb HD-Mini to HD-Mini SAS Cable, 2M, Customer Kit |  | DELL | 470-AATP
L1N30 | 30 | OpzHDMiniSAS6M | 120 | L1N30 | TS3L1-SAS6M | 1 | 12Gb HD-Mini to HD-Mini SAS Cable, 6M, Customer Kit |  | DELL | 470-AATR
L1N31 | 31 | OpzHDMiniSAS05M | 50 | L1N31 | TS3L1-SAS05M | 1 | 12Gb HD-Mini SAS cable, 0.5m, Customer Kit |  | DELL | 470-ABDQ
L1N32 | 32 | OpzHDMiniSAS2MB | 80 | L1N32 | TS3L1-SAS2MB | 1 | 12Gb HD-Mini SAS cable, 2m, Customer Kit |  | DELL | 470-ABDR
L1N33 | 33 | OpzHDMiniSAS4M | 100 | L1N33 | TS3L1-SAS4M | 1 | 12Gb Mini-SAS HD to Mini-SAS HD Cable, 4m, Customer Kit |  | DELL | 470-ACIS
L1N34 | 34 | OpzSFPALL | 40 | L1N34 | TS3L1-SFPALL | 1 | SFP+ SR Optic for all SFP+ |  | DELL | 407-BCBN
L1N35 | 35 | OpzDAC1M | 120 | L1N35 | TS3L1-DAC1M | 1 | Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 1 Meter |  | DELL | 470-AAVG
L1N36 | 36 | OpzDAC3M | 150 | L1N36 | TS3L1-DAC3M | 1 | Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  | DELL | 470-AAVH
L1N37 | 37 | OpzDAC5M | 170 | L1N37 | TS3L1-DAC5M | 1 | Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 5 Meter |  | DELL | 470-AAVJ
L1N38 | 38 |  |  | L1N38
L1N39 | 39 |  |  | L1N39
L1N40 | 40 |  |  | L1N40
L1N41 | 41 |  |  | L1N41
L1N42 | 42 |  |  | L1N42
L1N43 | 43 |  |  | L1N43
L1N44 | 44 |  |  | L1N44
L1N45 | 45 |  |  | L1N45
L1N46 | 46 |  |  | L1N46
L1N47 | 47 |  |  | L1N47
L1N48 | 48 |  |  | L1N48
L1N49 | 49 |  |  | L1N49
L1N50 | 50 |  |  | L1N50
N° |  | Attributo | Valore inserito | N° | Codice Convenzione | Qty: | Description: | Sku Number: |  | Sku Number:
L2N01 | 1 | Server Tower bi-processore | 2088 | L2N01 | TS3L2-SRV | 1 | PowerEdge T640 Server | L1N02-ServerT640 |  | -
L2N02 | 2 | Kit n. 1 Processore aggiuntivo | 590 | L2N02 | TS3L2-CPU | 1 | Intel® Xeon® Silver 4214 Processor 2.20 GHz, 12C/24T | L2N02-OpzCPU |  | 338-BSDR
[6 empty] | 1 |  |  |  | 412-AAMS
L2N03 | 3 | OpzRAM16GB | 99 | L2N03 | TS3L2-RAM16 | 1 | 16GB 2Rx8 DDR4 RDIMM 3200MHz | L2N03-OpzRAM16GB |  | AA799064
L2N04 | 4 | OpzGigabit | 26 | L2N04 | TS3L2-LAN1 | 1 | Broadcom 5720 DP 1Gb NIC,Full Height | L2N04-OpzGigabit |  | 540-BBGY
L2N05 | 5 | OpzHDD2TB | 226 | L2N05 | TS3L2-HDD2TB | 1 | 2.4TB 10K RPM SAS 12Gbps 512e 2.5in Hot-plug | L2N05-OpzHDD2TB |  | 400-AUQX
L2N06 | 6 | OpzHDD1TB | 141 | L2N06 | TS3L2-HDD1TB | 1 | 1.2TB 10K RPM SAS 12Gbps 2.5in Hot-plug | L2N06-OpzHDD1TB |  | 400-AJPD
L2N07 | 7 | OpzHDD300GB | 92 | L2N07 | TS3L2-HDD300GB | 1 | 300GB 15K RPM SAS 12Gbps 2.5in Hot-plug | L2N07-OpzHDD300GB |  | 400-AUXN
L2N08 | 8 | OpzSSD-RI800GB | 727 | L2N08 | TS3L2-RI800GB | 1 | 960GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug | L2N08-OpzSSD-RI800GB |  | 400-BBOU
L2N09 | 9 | OpzSSD-RI400GB | 394 | L2N09 | TS3L2-RI400GB | 1 | 480GB SSD SAS Read Intensive 12Gbps 2.5in Hot-plug | L2N09- OpzSSD-RI400GB |  | 400-BKSC
L2N10 | 10 | OpzUps (3000VA) | 300 | L2N10 | TS3L2-UPS | 1 | UPS PowerMe RPMM/9K - 3000VA Tower | L2N10-OpzUps |  | TPMM/ 3K
L2N11 | 11 | OpzGUI per tower | 104 | L2N11 | TS3L2-GUI | 1 | Monitor 19" E1920H, Mouse MS116, Tastiera KB216 | L2N11-OpzGUI |  | 580-ADHM
[6 empty] | 1 |  |  |  | 570-AAIS
[6 empty] | 1 |  |  |  | 210-AURI
[6 empty] | 1 |  |  |  | 450-ABCK
[6 empty] | 1 |  |  |  | 800-10243
[6 empty] | 1 |  |  |  | 709-17931
[6 empty] | 1 |  |  |  | 710-10844
L2N12 | 12 | OpzWinServSTD | 732 | L2N12 | TS3L2-WINSRVSTD | 1 | Windows Server 2019 Standard, ROK, 16CORE | L2N12-OpzWinServSTD |  | 634-BSFX
L2N13 | 13 | OpzWinServSTD2core | 94 | L2N13 | TS3L2-WINSRV2C | 1 | Windows Server 2019 Standard, Additional License, 2CORE | L2N13-OpzWinServSTD2core |  | 634-BSGS
L2N14 | 14 | OpzDeviceCal | 23 | L2N14 | TS3L2-WINDEVCAL | 1 | Windows Server 2019 Device CAL (STD or DC) | L2N14-OpzDeviceCal |  | 623-BBCV
L2N15 | 15 | OpzUserCal | 29 | L2N15 | TS3L2-WINUSRCAL | 1 | Windows Server 2019 User CAL (STD or DC) | L2N15-OpzUserCal |  | 623-BBCT
L2N16 | 16 | OpzOpenSource | 49 | L2N16 | TS3L2-LINUX | 1 | Ubuntu 18.04 LTS 64 Bit | L2N16-OpzOpenSource
L2N17 | 17 | OpzHDDRetention | 207 | L2N17 | TS3L2-HDRTNTN | 1 | Hard Disk Retention 36 mesi | L2N17-OpzHDDRetention |  | 785-10921
L2N18 | 18 | OpzEstensione24 | 79 | L2N18 | TS3L2-5Y | 1 | Estensione della manutenzione in garanzia per ulteriori 24 mesi | L2N18-OpzEstensione24 |  | 742-10105
L2N19 | 19 | TS3-OpzA20BT640 | 99.99 | L2N19 | TS3L2-BEZEL | 1 | Tower Standard Bezel for T640 | TS3-OpzA20BT640 | DELL | 325-BCMV
L2N20 | 20 | OpzBOSS240 | 429 | L2N20 | TS3L2-BOSS240 | 1 | BOSS controller card, full height, with 2 240G M.2 Drives | TS3-OpzA20B240G | DELL | 403-BBVQ
[6 empty] | 2 |  |  | DELL | 400-ASDQ
L2N21 | 21 | OpzBOSS480 | 748 | L2N21 | TS3L2-BOSS480 | 1 | BOSS controller card, full height, with 2 480G M.2 Drives | TS3-OpzA20B480G | DELL | 403-BBVQ
[6 empty] | 2 |  |  | DELL | 400-AVSS
L2N22 | 22 | TS3-OpzA20RKit | 270 | L2N22 | TS3L2-RACKKIT | 1 | Kit composto da: Tower to Rack Conversion Kit; Rack Standard Bezel; 3U Cable Management Arm; Ready Rails 3U Sliding Rails | TS3-OpzA20T640K
[6 empty] | 1 | Rack Standard Bezel for T640 |  | DELL | 325-BCOZ
[6 empty] | 1 | Tower to Rack,Conversion Kit T640 |  | DELL | 770-BCJK
[6 empty] | 1 | 3U Cable Management Arm |  | DELL | 770-BBKV
[6 empty] | 1 | Ready Rails 3U Sliding Rails |  | DELL | 770-BBJJ
L2N23 | 23 | OpzCNA10Gb | 383 | L2N23 | TS3L2-CNA10GB | 1 | Scheda 41112 DP 10Gb SFP+, 2 x Transceiver SFP+, 10GbE | TS3-OpzA20CNA | DELL | 540-BBYH
[6 empty] | 2 |  |  | DELL | 407-BBOU
L2N24 | 24 | Opz10GBIC | 90 | L2N24 | TS3L2-10GBIC | 1 | Transceiver, SFP+, 10GbE, SR, 850nm Wavelength, 300m Reach |  | DELL | 407-BBOU
L2N25 | 25 | OpzDAC3M | 9999 | L2N25 | TS3L2-DAC3M | 1 | Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter |  | DELL | 470-AAVJ
L2N26 | 26 | TS3-OpzA20RJ45 | 3 | L2N26 | TS3L2-RJ453M | 1 | Cavo “patch” di 3 mt RJ45 certificato per gigabit ethernet | TS3-OpzA20RJ45
L2N27 | 27 | OpzH840 | 479 | L2N27 | TS3L2-H840 | 1 | PERC H840 RAID Adapter for External MD14XX Only, 8GB NV Cache, Full Height | TS3-OpzA20H840 | DELL | 405-AAMZ
L2N28 | 28 | OpzHDDRetention60 | 345 | L2N28 | TS3L2-HDRTNTN60 | 1 | Hard Disk Retention 60 mesi | L2N28-OpzHDDRetention60
L2N29 | 29 | OpzCNA10Gb | 411 | L2N29 | TS3L2-CNA10M3 | 1 | Scheda 41112 DP 10Gb SFP+, 2 x Cable, SFP+ to SFP+, 10GbE, Copper Twinax Direct Attach Cable, 3 Meter | TS3-OpzA20CNA3M | DELL | 540-BBYH
[6 empty] | 2 |  |  | DELL | 470-AAVJ
L2N30 | 30 |  | 672 | L2N30 | TS3L2-H740P | 1 | Dell PERC H740P RAID Controller in sostituzione del Controller in configurazione BASE | TS3-OpzA20H740P | DELL
L2N31 | 31 |  |  | L2N31 |  |  |  |  | DELL
L2N32 | 32 |  |  | L2N32 |  |  |  |  | DELL
L2N33 | 33 |  |  | L2N33 |  |  |  |  | DELL
L2N34 | 34 |  |  | L2N34
L2N35 | 35 |  |  | L2N35
L2N36 | 36 | OpzLCLC1M |  | L2N36 | TS3L2-LCLC1M | 2 | Networking Cable, OM4 LC/LC Fiber Cable, (Optics required), 1 Meter |  | DELL | 470-ACLV
L2N37 | 37 | OpzLCLC2M |  | L2N37 | TS3L2-LCLC2M | 2 | Networking Cable, OM4 LC/LC Fiber Cable, (Optics required), 2 Meter |  | DELL | 470-ACLT
L2N38 | 38 | OpzLCLC3M |  | L2N38 | TS3L2-LCLC3M | 2 | Networking Cable, OM4 LC/LC Fiber Cable, (Optics required), 3 Meter |  | DELL | 470-ACMO
L2N39 | 39 | OpzLCLC5M |  | L2N39 | TS3L2-LCLC5M | 2 | Networking Cable, OM4 LC/LC Fiber Cable, (Optics required), 5 Meter |  | DELL | 470-ACLY
L2N40 | 40 | OpzLCLC10M |  | L2N40 | TS3L2-LCLC10M | 2 | Networking Cable, OM4 LC/LC Fiber Cable, (Optics required), 10 Meter |  | DELL | 470-ACMN
L2N41 | 41 | OpzLCLC30M |  | L2N41 | TS3L2-LCLC30M | 2 | Networking Cable, OM4 LC/LC Fiber Cable, (Optics required), 30 Meter |  | DELL | 470-ACLM
L2N42 | 42 |  |  | L2N42
L2N43 | 43 |  |  | L2N43
L2N44 | 44 |  |  | L2N44
L2N45 | 45 |  |  | L2N45
L2N46 | 46 |  |  | L2N46
L2N47 | 47 |  |  | L2N47
L2N48 | 48 |  |  | L2N48
L2N49 | 49 |  |  | L2N49
L2N50 | 50 | OpzCodiceNATO | 200 | L2N50 | TS3L2-NATO | 1 | Codifica NATO

## Altre_Opzioni
| Convenzione | 0
| 20% | 0
| Totale | 0
Opzioni in Convenzione
OpzRack
Rack 42U con portata 1000 KG e 4 ruote + coppia PDU 12 prese Shuko bipasso ITA
OpzUps (3000VA)
BUNDLE PMEUPS3RTSER Comprensivo di UPS e scheda SNMP + Kit Rack incluso
OpzGUI
Unità KVM - monitor 17", cavo combi PS2 e USB da 1,8mt, tastiera ita, touch pad
OpzKVM
Switch 16 porte IP con relativi cavi combi PS/2 e USB inclusi
|  |  | 0 | 0
|  |  | 0 | 0

## Riepilogo
1
Ente: | [5 empty] | 1 |  | ente | 1
1
Ordine N. |  |  | ERRORE DI MANCATA COMPILAZIONE DATI NECESSARI PER L'ORDINATIVO |  |  | 1 |  | N°ordine | 1
1
Data | [5 empty] | 1 |  | data | 1
[6 empty] | 1 | Campi non compilati | ERRORE1 | ERRORE DI MANCATA COMPILAZIONE DATI NECESSARI PER L'ORDINATIVO | 1
Totale IVA incl. |  | 0 |  |  | Version 3.3 | 1 | Avvertimento 20% | Warning2 |  | 0
[6 empty] | 1 |  | ERRORE3 |  | 0
[6 empty] | 1 | Avvertimento Note/Raid | Waning4 |  | 0 | 1 | 1 | 1
Referente Consegna | [5 empty] | 1 |  | ref1 | 1 |  | Verifica Errori |  | 1
1
Telefono |  | email |  |  |  | 1 |  | tel1 | 1 | mail1 | 1
1
1
Referente Installazione | [5 empty] | 1 |  | ref2 | 1
1
Telefono |  | email |  |  |  | 1 |  | tel2 | 1 | mail2 | 1
1
[6 empty] | 1 |  |  | Server1 | Server2 | Server3 | Totale
TECNOLOGIE SERVER 3 LOTTO 2 - LISTA ARTICOLI IN CONVENZIONE - | [5 empty] | 0
Quantità | Codice Articolo Produttore | Codice Articolo Convenzione | Descrizione | Costo unitario | Costo complessivo | 0 | Codice Convenzione | N° | 0 | 0 | 0
[6 empty] | 0 | TS3L2-SRV | L2N01 | 0 | 0 | 0 | 0 | L2N01 |  | L2N01 |  | L2N01 |  | FALSE | server
[6 empty] | 0 | TS3L2-CPU | L2N02 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | FALSE | Cpu
[6 empty] | 0 | TS3L2-RAM16 | L2N03 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | FALSE | ram
[6 empty] | 0 | TS3L2-LAN1 | L2N04 | 0 | 0 | 0 | 0 | [6 empty] | FALSE | Sist Op
[6 empty] | 0 | TS3L2-HDD2TB | L2N05 | 0 | 0 | 0 | 0 | L2N05 | 0 | L2N05 | 0 | L2N05 | 0 | FALSE | hd2tb
[6 empty] | 0 | TS3L2-HDD1TB | L2N06 | 0 | 0 | 0 | 0 | L2N06 | 0 | L2N06 | 0 | L2N06 | 0 | FALSE | hd1tb
[6 empty] | 0 | TS3L2-HDD300GB | L2N07 | 0 | 0 | 0 | 0 | L2N07 | 0 | L2N07 | 0 | L2N07 | 0 | FALSE | hd300gb
[6 empty] | 0 | TS3L2-RI800GB | L2N08 | 0 | 0 | 0 | 0 | L2N08 | 0 | L2N08 | 0 | L2N08 | 0 | FALSE | ssd960GB
[6 empty] | 0 | TS3L2-RI400GB | L2N09 | 0 | 0 | 0 | 0 | L2N09 | 0 | L2N09 | 0 | L2N09 | 0 | FALSE | ssd480GB
[6 empty] | 0 | TS3L2-UPS | L2N10 | 0 | 0 | 0 | 0 | [6 empty] | FALSE | pci1
[6 empty] | 0 | TS3L2-GUI | L2N11 | 0 | 0 | 0 | 0 | [6 empty] | FALSE | pci2
[6 empty] | 0 | TS3L2-WINSRVSTD | L2N12 | 0 | 0 | 0 | 0 | [6 empty] | FALSE | pci3
[6 empty] | 0 | TS3L2-WINSRV2C | L2N13 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | FALSE | pci4
[6 empty] | 0 | TS3L2-WINDEVCAL | L2N14 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | FALSE | pci5
[6 empty] | 0 | TS3L2-WINUSRCAL | L2N15 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | FALSE | pci6
[6 empty] | 0 | TS3L2-LINUX | L2N16 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | FALSE | pci7
[6 empty] | 0 | TS3L2-HDRTNTN | L2N17 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | FALSE | pci8
[6 empty] | 0 | TS3L2-5Y | L2N18 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | FALSE | win2core
[6 empty] | 0 | TS3L2-HDRTNTN60 | L2N28 | 0 | 0 | 0 | 0 | [6 empty] | FALSE
TECNOLOGIE SERVER 3 LOTTO 2 - LISTA ULTERIORI ARTICOLI IN CONVENZIONE (20%) - | [5 empty] | 0 | [13 empty] | retention
Quantità | Codice Articolo Produttore | Codice Articolo Convenzione | Descrizione | Costo unitario | Costo complessivo | 0 | [13 empty] | warranty
[6 empty] | 0 | TS3L2-BEZEL | L2N19 | 0 | 0 | 0 | 0 | [6 empty] | FALSE | ups
[6 empty] | 0 | TS3L2-BOSS240 | L2N20 | 0 | 0 | 0 | 0 | [6 empty] | FALSE | gui
[6 empty] | 0 | TS3L2-BOSS480 | L2N21 | 0 | 0 | 0 | 0 | [6 empty] | FALSE
[6 empty] | 0 | TS3L2-RACKKIT | L2N22 | 0 | 0 | 0 | 0 | L2N26 | 3 | L2N26 | 3 | L2N26 | 3 | FALSE
[6 empty] | 0 | TS3L2-CNA10GB | L2N23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE
[6 empty] | 0 | TS3L2-10GBIC | L2N24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE
[6 empty] | 0 | TS3L2-DAC3M | L2N25 | 0 | 0 | 0 | 0 | [6 empty] | FALSE
[6 empty] | 0 | TS3L2-RJ453M | L2N26 | 0 | 0 | 0 | 0 | [6 empty] | FALSE
[6 empty] | 0 | TS3L2-H840 | L2N27 | 0 | 0 | 0 | 0 | [6 empty] | FALSE
[6 empty] | 0 | TS3L2-H740P | L2N30 | 0 | 0 | 0 | 0 | [6 empty] | FALSE
[6 empty] | 0 | TS3L2-CNA10M3 | L2N29 | 0 | 0 | 0 | 0 | [6 empty] | FALSE
Convenzione |  |  |  |  | 0 | 0
Valore economico 20% consentito |  | 0 | Ulteriori componenti opzionali (20%) |  | 0 | 0
Totale iva esclusa |  |  |  |  | 0 | 0
I.V.A. |  |  |  |  | 0 | 0
TOTALE ORDINE |  |  |  |  | 0 | 0
1

## Configurazione
1
0 | PowerEdge T640 Configurazione 1 | 0 | PowerEdge T640 Configurazione 2 |  | 0 | PowerEdge T640 Configurazione 3 |  |  |  |  | 1
0
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
[7 empty] | 0 | 0 | 0 | 0 | 0 | FALSE
0
Configurazione RAID e/o NOTE |  | Configurazione RAID e/o NOTE |  |  | Configurazione RAID e/o NOTE | [5 empty] | 0
Specificare la configurazione RAID per l'installazione del Sistema Operativo, se richiesto. e/o inserire eventuali note. |  | Specificare la configurazione RAID per l'installazione del Sistema Operativo, se richiesto. e/o inserire eventuali note. |  |  | Specificare la configurazione RAID per l'installazione del Sistema Operativo, se richiesto. e/o inserire eventuali note. | [5 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
1
1
AREA RISERVATA AL FORNITORE | [10 empty] | 1
1
VERIFICA STAGING |  |  |  | VERIFICA INSTALLATORE | [6 empty] | 1
1
1
1
1